## Inspection 11
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 11 (Maintenance Boiler, Ammonia Room, Hot water heating boiler room,) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | All drain covers grills are in place (not sunken) |  | As Stated
2.4 | No large cracks in floors |  | No uneven floor
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
5.1 | All dock plates are flush/even (no bends/shearing) |  | Dock plates should be flush with floor
5.2 | Dock doors are in the tracks and have proper handles and/or chains |  | Inspect condition of bay doors
5.3 | Wheel chocks installed at all door (if applicable) |  | Trailer wheels need to be chocked if counterbalances are entering on and off
5.4 | Loading dock lights in working order (interior and exterior) |  | Inspect loading lights, make sure they work
Other :
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
6.12 | Other :
7 | Machine Handling (driving observations)
7.1 | Stopping and sound horn when required |  | As Stated
7.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
7.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
7.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
7.5 | Machine is completely stopped before stepping off |  | As Stated
7.6 | Forks are lowered when machine is not in use
7.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
7.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
7.9 | Other :
8 | Other Equipment
8.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
8.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
8.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
8.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
8.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
8.5 | Other :
9 | Electrical Panels
9.1 | Not obstructed |  | Electrical room is not a storage room
9.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
9.3 | Other :
10 | Maintenance Area
10.1 | Clean |  | As Stated
10.2 | Equipment / tools in good condition, guards in place, no deviations |  | As Stated
10.3 | Hands tools in good repair |  | Electrical cords not frayed, casing/housing have no holes
10.4 | Other :
11 | Employee Interview
11.1 | What would you do if you had an accident? |  | Report it to your immediate supervisor immediately
11.2 | What does LOTO stand for |  | Lockout Tagout
11.3 | Are there guards installed on your equipment? |  | Have them point them out (if applicable)
11.4 | Is the pre inspection completed for the equipment being run? |  | Dated, signed,
11.5 | Where is your closest emergency exit? Where is the external meeting area? |  | Look for the closest exit to the area
11.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________