## Inspection 8
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 8 (maintenance shop, boiler room, ammonia room, main racking (push back, ingredients) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
3 | Floors/ Aisles
2 | Stairs (inside and outside)
2.1 | Are there proper hand/guardrails |  | As Stated
2.2 | Is there proper lighting |  | No dark spots, all lights working
2.3 | Is there appropriate tread / cleats |  | Must be one on every step
2.4 | Are stairs clear and free of debris |  | As Stated
2.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
Other :
5 | Dock Safety
6 | WHMIS
3 | Emergency Response Equipment
3.1 | Emergency box is accessible? |  | Visible and not blocked off
3.2 | Contents are in good condition? |  | Check first aid kit, ERP, emergency blankets, spare hi-viz vests
3.3 | Spill kits available and in the designated area and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
3.4 | Other :
4 | Dock Safety
4.1 | Is there proper section alignment |  | Is racking plumb and straight
4.2 | Uprights are properly anchored |  | Must have at least one bolt per leg
4.3 | No structural damage to uprights |  | Vertical support is undamaged
4.4 | No structural damage to crossbeams |  | Horizontal support is undamaged
4.5 | Row spacers are in place |  | Spacer for between back to back racking is present
4.6 | No structural damage to diagonal braces of uprights |  | As Stated
4.7 | Safety bars are in place |  | Installed in travel areas and one per pallet location
4.8 | Pallets are properly wrapped and secured |  | Wrapped with shrink wrap or another means that prevents falling product
4.9 | Other :
5 | Machine Handling (driving observations)
5.1 | Stopping and sound horn when required |  | As Stated
5.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
5.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
5.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
5.5 | Machine is completely stopped before stepping off |  | As Stated
5.6 | Forks are lowered when machine is not in use
5.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
5.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
5.9 | Other :
10 | Other Equipment
11 | Compactor
6 | Electrical Panels
6.1 | Not obstructed |  | Electrical room is not a storage room
6.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
6.3 | Other :
13 | Maintenance Area
5 | Outside of Building
5.1 | Parking lot / yard in good condition |  | No large potholes, bollards in place where applicable
5.2 | Emergency exits clear (snow, ice, obstructions) |  | As Stated
5.3 | Proper lighting |  | No dark unlit areas in parking lot
6 | Employee Interview
6.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
6.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
6.3 | Is there an unusual or difficult task or process (DIFFICULT)
6.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
6.4 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________