## Inspection 1
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 1 (Process Rooms; Filter Room; Blender area, Production Room) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
6.12 | Other :
7 | Machine Handling (driving observations)
7.1 | Stopping and sound horn when required |  | As Stated
7.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
7.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
7.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
7.5 | Machine is completely stopped before stepping off |  | As Stated
7.6 | Forks are lowered when machine is not in use
7.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
7.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
7.9 | Other :
8 | Other Equipment
8.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
8.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
8.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
8.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
8.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
8.6 | Other :
11 | Compactor
9 | Electrical Panels
9.1 | Not obstructed |  | Electrical room is not a storage room
9.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
9.3 | Other :
13 | Maintenance Area
14 | Outside of Building
10 | Employee Interview
10.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
10.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
10.3 | Is there an unusual or difficult task or process (DIFFICULT)
10.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
10.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 2
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 2 (Tank Gallery & ESL, Cultured product room & AST room, Labs (upper & lower) ) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.12 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
6.13 | Other :
7 | Machine Handling (driving observations)
7.1 | Stopping and sound horn when required |  | As Stated
7.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
7.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
7.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
7.5 | Machine is completely stopped before stepping off |  | As Stated
7.6 | Forks are lowered when machine is not in use
7.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
7.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
7.9 | Other :
8 | Other Equipment
9.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
9.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
9.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
9.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
9.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
9.6 | Other :
11 | Compactor
10 | Electrical Panels
10.1 | Not obstructed |  | Electrical room is not a storage room
10.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
10.3 | Other :
Maintenance Area
14 | Outside of Building
11 | Employee Interview
11.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
11.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
11.3 | Is there an unusual or difficult task or process (DIFFICULT)
11.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
11.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 3
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 3 (Basement & Chemical Room; Raw Milk Receiving, Bactofuge Room) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.12 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
Other :
9 | Machine Handling (driving observations)
10 | Other Equipment
11 | Compactor
7 | Electrical Panels
7.1 | Not obstructed |  | Electrical room is not a storage room
7.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
7.3 | Other :
13 | Maintenance Area
14 | Outside of Building
8 | Employee Interview
8.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
8.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
8.3 | Is there an unusual or difficult task or process (DIFFICULT)
8.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
8.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 4
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 4 (Employee Facilities: Washrooms, Lunchrooms, Changerooms, Smoking Area, Front offices (customer service, marketing), Front Parking Lot | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
Other :
7 | Personal Protective Equipment
5 | Emergency Response Equipment
5.1 | First aid kit(s) available |  | Meets regulations requirements
5.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
5.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
5.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
5.5 | Fire Extinguishers operational and present as required |  | As Stated
5.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
5.7 | Fire Extinguisher Signage is present |  | As Stated
5.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
5.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
5.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
5.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
5.12 | Other :
9 | Machine Handling (driving observations)
10 | Other Equipment
11 | Compactor
6 | Electrical Panels
6.1 | Not obstructed |  | Electrical room is not a storage room
6.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
6.3 | Other :
13 | Maintenance Area
14 | Outside of Building
17 | Employee Interview
7 | Employee Interview
7.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
7.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
7.3 | Is there an unusual or difficult task or process (DIFFICULT)
7.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
7.5 | Other:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 5
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 5 (Exterior Building) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
4 | WHMIS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.12 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
6.13 | Other :
9 | Machine Handling (driving observations)
7 | Other Equipment
7.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
7.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
7.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
7.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
7.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
7.6 | Other :
11 | Compactor
8 | Electrical Panels
8.1 | Not obstructed |  | Electrical room is not a storage room
8.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
8.4 | Other :
13 | Maintenance Area
14 | Outside of Building
9 | Employee Interview
9.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
9.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
9..3 | Is there an unusual or difficult task or process (DIFFICULT)
9.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
9.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 6
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 6 (Cold Warehouse (floor, chain system, offices) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
4 | Dock Safety
4.1 | All dock plates are flush/even (no bends/shearing) |  | Dock plates should be flush with floor
4.2 | Dock doors are in the tracks and have proper handles and/or chains |  | Inspect condition of bay doors
4.3 | Wheel chocks installed at all door (if applicable) |  | Trailer wheels need to be chocked if counterbalances are entering on and off
4.4 | Loading dock lights in working order (interior and exterior) |  | Inspect loading lights, make sure they work
4.5 | Other :
5 | GHS
5.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
5.2 | Are the SDS Sheets up to date?
5.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
5.4 | Other :
6 | Personal Protective Equipment
6.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
6.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
6.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
6.4 | Other :
7 | Emergency Response Equipment
7.1 | First aid kit(s) available |  | Meets regulations requirements
7.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
7.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
7.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
7.5 | Fire Extinguishers operational and present as required |  | As Stated
7.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
7,7 | Fire Extinguisher Signage is present |  | As Stated
7.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
7.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
7.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
7.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
7.12 | Other :
8 | Machine Handling (driving observations)
8.1 | Stopping and sound horn when required |  | As Stated
8.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
8.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
8.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
8.5 | Machine is completely stopped before stepping off |  | As Stated
8.5 | Forks are lowered when machine is not in use
8.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
8.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
8.9 | Other :
9 | Other Equipment
9.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
9.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
9.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
9.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
9.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
9.6 | Other :
10 | Compactor
10.1 | In working condition, no equipment deviations |  | Verify the overall condition is in good working order - no modifications
10.2 | Are lock out procedures posted (if applicable) |  | As Stated
10.3 | Are the keys removed or main power supply is locked out |  | As Stated
10.4 | Other :
11 | Electrical Panels
11.1 | Not obstructed |  | Electrical room is not a storage room
11.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
11.3 | Other :
12 | Maintenance Area
12.1 | Clean |  | As Stated
12.2 | Equipment / tools in good condition, guards in place, no deviations |  | As Stated
12.3 | Hands tools in good repair |  | Electrical cords not frayed, casing/housing have no holes
12.4 | Other :
13 | Outside of Building
13.1 | Parking lot / Yard in good condition |  | No large potholes, bollards in place where applicable
13.2 | Emergency exits clear (snow, ice, obstructions) |  | As Stated
13.3 | Proper lighting |  | No dark unlit areas in parking lot
14 | Employee Interview
14.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
14.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
14.3 | Is there an unusual or difficult task or process (DIFFICULT)
14.4 | Is there a changing or changed situation, activity or task (DIFFERENT)
14.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 7
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 7 (WH #2) Case Wash | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2.1 | Is there proper section alignment |  | Is racking plumb and straight
2.2 | Uprights are properly anchored |  | Must have at least one bolt per leg
2.3 | No structural damage to uprights |  | Vertical support is undamaged
2.4 | No structural damage to crossbeams |  | Horizontal support is undamaged
2.5 | Row spacers are in place |  | Spacer for between back to back racking is present
2.6 | No structural damage to diagonal braces of uprights |  | As Stated
2.7 | Safety bars are in place |  | Installed in travel areas and one per pallet location
2.8 | Pallets are properly wrapped and secured |  | Wrapped with shrink wrap or another means that prevents falling product
Other :
3 | Floors/ Aisles
3.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
3.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
3.3 | No large cracks in floors |  | No uneven floor
3.4 | All drain covers grills are in place (not sunken) |  | As Stated
3.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
4 | Stairs (inside and outside)
4.1 | Are there proper hand/guardrails |  | As Stated
4.2 | Is there proper lighting |  | No dark spots, all lights working
4.3 | Is there appropriate tread / cleats |  | Must be one on every step
4.4 | Are stairs clear and free of debris |  | As Stated
4.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
Other :
5 | Dock Safety
5.1 | All dock plates are flush/even (no bends/shearing) |  | Dock plates should be flush with floor
5.2 | Dock doors are in the tracks and have proper handles and/or chains |  | Inspect condition of bay doors
5.3 | Wheel chocks installed at all door (if applicable) |  | Trailer wheels need to be chocked if counterbalances are entering on and off
5.4 | Loading dock lights in working order (interior and exterior) |  | Inspect loading lights, make sure they work
Other :
6 | GHS
6.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
6.2 | Are the SDS Sheets up to date?
6.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
Other :
7 | Personal Protective Equipment
7.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
7.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
7.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
Other :
8 | Emergency Response Equipment
8.1 | First aid kit(s) available |  | Meets regulations requirements
8.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
8.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
8.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
8.5 | Fire Extinguishers operational and present as required |  | As Stated
8.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
8.7 | Fire Extinguisher Signage is present |  | As Stated
8.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
8.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
8.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
8.12 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
Other :
9 | Machine Handling (driving observations)
9.1 | Stopping and sound horn when required |  | As Stated
9.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
9.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
9.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
9.5 | Machine is completely stopped before stepping off |  | As Stated
9.6 | Forks are lowered when machine is not in use
9.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
9.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
Other :
10 | Other Equipment
10.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
10.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
10.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
10.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
10.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
10.6 | Other :
11 | Compactor
11.1 | In working condition, no equipment deviations |  | Verify the overall condition is in good working order - no modifications
11.2 | Are lock out procedures posted (if applicable) |  | As Stated
11.3 | Are the keys removed or main power supply is locked out |  | As Stated
Other :
12 | Electrical Panels
12.1 | Not obstructed |  | Electrical room is not a storage room
12.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
Other :
13 | Maintenance Area
13.1 | Clean |  | As Stated
13.2 | Equipment / tools in good condition, guards in place, no deviations |  | As Stated
13.3 | Hands tools in good repair |  | Electrical cords not frayed, casing/housing have no holes
Other :
14 | Outside of Building
14.1 | Parking lot / Yard in good condition |  | No large potholes, bollards in place where applicable
14.2 | Emergency exits clear (snow, ice, obstructions) |  | As Stated
14.3 | Proper lighting |  | No dark unlit areas in parking lot
15 | Employee Interview
15.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
15.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
15.3 | Is there an unusual or difficult task or process (DIFFICULT)
15.4 | Is there a changing or changed situation, activity or task (DIFFERENT)
15.5 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 8
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 8 (maintenance shop, boiler room, ammonia room, main racking (push back, ingredients) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
3 | Floors/ Aisles
2 | Stairs (inside and outside)
2.1 | Are there proper hand/guardrails |  | As Stated
2.2 | Is there proper lighting |  | No dark spots, all lights working
2.3 | Is there appropriate tread / cleats |  | Must be one on every step
2.4 | Are stairs clear and free of debris |  | As Stated
2.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
Other :
5 | Dock Safety
6 | WHMIS
3 | Emergency Response Equipment
3.1 | Emergency box is accessible? |  | Visible and not blocked off
3.2 | Contents are in good condition? |  | Check first aid kit, ERP, emergency blankets, spare hi-viz vests
3.3 | Spill kits available and in the designated area and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
3.4 | Other :
4 | Dock Safety
4.1 | Is there proper section alignment |  | Is racking plumb and straight
4.2 | Uprights are properly anchored |  | Must have at least one bolt per leg
4.3 | No structural damage to uprights |  | Vertical support is undamaged
4.4 | No structural damage to crossbeams |  | Horizontal support is undamaged
4.5 | Row spacers are in place |  | Spacer for between back to back racking is present
4.6 | No structural damage to diagonal braces of uprights |  | As Stated
4.7 | Safety bars are in place |  | Installed in travel areas and one per pallet location
4.8 | Pallets are properly wrapped and secured |  | Wrapped with shrink wrap or another means that prevents falling product
4.9 | Other :
5 | Machine Handling (driving observations)
5.1 | Stopping and sound horn when required |  | As Stated
5.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
5.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
5.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
5.5 | Machine is completely stopped before stepping off |  | As Stated
5.6 | Forks are lowered when machine is not in use
5.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
5.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
5.9 | Other :
10 | Other Equipment
11 | Compactor
6 | Electrical Panels
6.1 | Not obstructed |  | Electrical room is not a storage room
6.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
6.3 | Other :
13 | Maintenance Area
5 | Outside of Building
5.1 | Parking lot / yard in good condition |  | No large potholes, bollards in place where applicable
5.2 | Emergency exits clear (snow, ice, obstructions) |  | As Stated
5.3 | Proper lighting |  | No dark unlit areas in parking lot
6 | Employee Interview
6.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
6.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
6.3 | Is there an unusual or difficult task or process (DIFFICULT)
6.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
6.4 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 9
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 9 Caser stacker, Chain System, Leaker Area | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) No Issues (X) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | No large cracks in floors |  | No uneven floor
2.4 | All drain covers grills are in place (not sunken) |  | As Stated
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | GHS
5.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
5.2 | Are the SDS Sheets up to date?
5.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
5.4 | Other :
6 | Personal Protective Equipment
6.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
6.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
6.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
6.4 | Other :
7 | Emergency Response Equipment
7.1 | First aid kit(s) available |  | Meets regulations requirements
7.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
8.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
7.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
7.5 | Fire Extinguishers operational and present as required |  | As Stated
7.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
7.7 | Fire Extinguisher Signage is present |  | As Stated
7.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
7.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
7.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
7.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
7.12 | Other :
8 | Machine Handling (driving observations)
8.1 | Stopping and sound horn when required |  | As Stated
8.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
8.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
8.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
8.5 | Machine is completely stopped before stepping off |  | As Stated
8.6 | Forks are lowered when machine is not in use
8.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
8.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
8.9 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
8.1 | Other :
9 | Other Equipment
9.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
9.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
9.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
9.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
9.5 | Check Ammonia pipes for ice buildup |  | Check if cooling units have any ice build up on pipes toensure no fallen debris
11 | Electrical Panels
11.1 | Not obstructed |  | Electrical room is not a storage room
11.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
11.3 | Other :
13 | Maintenance Area
14 | Outside of Building
12 | Employee Interview
12.1 | Is there a situation, task or process that doesn't make sense? (DUMB)
12.2 | Is there a risky task, process, situation or hazard (DANGEROUS)
12.3 | Is there an unusual or difficult task or process (DIFFICULT)
12.4 | Is there a changing or changed situatiion, activity or task (DIFFERENT)
12.5 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 10
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 10 (Warehoue #1) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Racking
2.1 | damaged or corroded posts |  | the post are in good shape
2.2 | damaged or missing horizontal and/ or diagonal braces |  | the horizontal bars are in good condition
2.3 | sheared or missing anchors |  | achors are visible and not damaged
2.4 | damaged or permanently deflected beams |  | beams are good condition
2.5 | Improper beam bracket engagement |  | the beams are fastened together
2.6 | missing or improper safety pins |  | safety pins are all accounted for
2.7 | missing or improper row spacers |  | row spacers are accounted for
2.8 | misplaced, missing or damaged pallet safety bars |  | safety bar is in good condition
2.9 | safety bars that are not positivly restrained againts lateral displacement |  | safety bars are postively in placed
2.11 | out of plumb post |  | posts are in place
2.12 | Condition of the floor |  | check for cracks around the base of post
3 | Floors/ Aisles
3.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
3.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
3.4 | All drain covers grills are in place (not sunken) |  | As Stated
3.3 | No large cracks in floors |  | No uneven floor
3.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
4 | Stairs (inside and outside)
4.1 | Are there proper hand/guardrails |  | As Stated
4.2 | Is there proper lighting |  | No dark spots, all lights working
4.3 | Is there appropriate tread / cleats |  | Must be one on every step
4.4 | Are stairs clear and free of debris |  | As Stated
4.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
Other :
5 | Dock Safety
5.1 | All dock plates are flush/even (no bends/shearing) |  | Dock plates should be flush with floor
5.2 | Dock doors are in the tracks and have proper handles and/or chains |  | Inspect condition of bay doors
5.3 | Wheel chocks installed at all door (if applicable) |  | Trailer wheels need to be chocked if counterbalances are entering on and off
5.4 | Loading dock lights in working order (interior and exterior) |  | Inspect loading lights, make sure they work
Other :
6 | GHS
6.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
6.2 | Are the SDS Sheets up to date?
6.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
Other :
7 | Personal Protective Equipment
7.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
7.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
7.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
Other :
8 | Emergency Response Equipment
8.1 | First aid kit(s) available |  | Meets regulations requirements
8.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
8.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
8.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
8.5 | Fire Extinguishers operational and present as required |  | As Stated
8.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
8.7 | Fire Extinguisher Signage is present |  | As Stated
8.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
8.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
8.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
8.12 | Inspect Emergency Kits |  | Check expiry date and if anything has been used.
Other :
9 | Machine Handling (driving observations)
9.1 | Stopping and sound horn when required |  | As Stated
9.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
9.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
9.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
9.5 | Machine is completely stopped before stepping off |  | As Stated
9.6 | Forks are lowered when machine is not in use
9.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
9.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
Other :
10 | Other Equipment
10.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
10.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
10.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
10.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
10.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
10.6 | Other :
11 | Compactor
11.1 | In working condition, no equipment deviations |  | Verify the overall condition is in good working order - no modifications
11.2 | Are lock out procedures posted (if applicable) |  | As Stated
11.3 | Are the keys removed or main power supply is locked out |  | As Stated
Other :
12 | Electrical Panels
12.1 | Not obstructed |  | Electrical room is not a storage room
12.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
Other :
13 | Maintenance Area
14 | Outside of Building
17 | Employee Interview
13.1 | What would you do if you had an accident? |  | Report it to your immediate supervisor immediately
13.2 | What does LOTO stand for |  | Lockout Tagout
13.3 | Are there guards installed on your equipment? |  | Have them point them out (if applicable)
13.4 | Is the pre inspection completed for the equipment being run? |  | Dated, signed,
13.5 | Where is your closest emergency exit? Where is the external meeting area? |  | Look for the closest exit to the area
13.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Inspection 11
JHSC Monthly Workplace Inspection - Georgetown
DATE |  | INSPECTORS (Print clearly)
ZONE | Zone 11 (Maintenance Boiler, Ammonia Room, Hot water heating boiler room,) | INSPECTORS' SIGNATURES
Section | Inspection Area | Hazard Rating | Checklist | Corrective Action | Responsible Party
| Facility Inspection | Major (A) Moderate (B) Minor (C) | Immediately dangerous to life Potential for a non life threatening injury long term potential for slight injury or illness | Brief Description of action to be taken to rectify identified hazard | Identify the person who will be responsible for correcting the hazard
Building, interior and exterior
1 | Emergency Exits
1.1 | Exits are not blocked |  | Must have a 3 foot path to the door
1.2 | Clear and free of debris |  | Nothing on the floor that may cause a slip trip or fall
1.3 | Exit signs are in place |  | Exit light must be working
1.4 | Emergency lighting available and not blocked |  | Can't have anything blocking the path of the light
Other :
2 | Floors/ Aisles
2.1 | Floors are clean and free of debris |  | Damaged products, shrink wrap, cardboard
2.2 | No obstructions in walk ways |  | There's a clear travel path with no obstructions
2.3 | All drain covers grills are in place (not sunken) |  | As Stated
2.4 | No large cracks in floors |  | No uneven floor
2.5 | All spills (wet or dry) are clearly identified and cleaned up |  | If spill is present it must be marked with a pylon or some kind of warning sign
3 | Stairs (inside and outside)
3.1 | Are there proper hand/guardrails |  | As Stated
3.2 | Is there proper lighting |  | No dark spots, all lights working
3.3 | Is there appropriate tread / cleats |  | Must be one on every step
3.4 | Are stairs clear and free of debris |  | As Stated
3.5 | Are stairs clean and dry |  | Outdoor stairs free of ice
3.6 | Other :
5 | Dock Safety
5.1 | All dock plates are flush/even (no bends/shearing) |  | Dock plates should be flush with floor
5.2 | Dock doors are in the tracks and have proper handles and/or chains |  | Inspect condition of bay doors
5.3 | Wheel chocks installed at all door (if applicable) |  | Trailer wheels need to be chocked if counterbalances are entering on and off
5.4 | Loading dock lights in working order (interior and exterior) |  | Inspect loading lights, make sure they work
Other :
4 | GHS
4.1 | Is there a SDS station installed in the facility, complete with SDS binder that is not blocked or obstructed? |  | Locate facility SSDS binder and is it accessible to all employees?
4.2 | Are the SDS Sheets up to date?
4.3 | All chemicals are properly labeled with a supplier or workplace label for all decanted products |  | As Stated
4.4 | Other :
5 | Personal Protective Equipment
5.1 | Steel toes footwear meets CSA requirements |  | Fasten properly, no holes, adequate tread,
5.2 | Safety harnesses and lanyards are available and in proper working condition and properly stored |  | Check harness and lanyard for condition and last inspection date.
5.3 | PPE available as appropriate (i.e. face shield, apron, gloves) |  | Survey employees and ask what they do prior to using harness and lanyard
5.4 | Other :
6 | Emergency Response Equipment
6.1 | First aid kit(s) available |  | Meets regulations requirements
6.2 | First aid kit(s)stocked as per Regulations |  | Verify each kit has been checked monthly and is in accordance to legislative inventory
6.3 | First aid signs visible |  | Are there visible signs for First Aid Kits
6.4 | Spill Kits available in the designated areas and inspected? |  | Verify spill kit in the dept are available and have the correct inventory
6.5 | Fire Extinguishers operational and present as required |  | As Stated
6.6 | All Fire Extinguishers are properly stored and not obstructed or blocked |  | Fire extinguishers are to be mounted and secured from accidental movement
6.7 | Fire Extinguisher Signage is present |  | As Stated
6.8 | Fire Extinguishers checked monthly |  | Check monthly inspection report
6.9 | Eyewash station functioning, clean and accessible |  | Check they are not blocked and that they work
6.1 | Diphoterine kit accessible |  | Check expiry date and if anything has been used.
6.11 | Inspect Emergency Kits (Control room; Dispatch; maintenance shop) |  | Check expiry date and if anything has been used.
6.12 | Other :
7 | Machine Handling (driving observations)
7.1 | Stopping and sound horn when required |  | As Stated
7.2 | No forks elevated or extended while driving |  | 2 to 3 inches without a load 4 to 6 inches when traveling with a load
7.3 | Using caution when entering or exiting blind corners or trailers |  | As Stated
7.4 | All body parts are within the confines of the machine |  | Are they wearing a seat belt if applicable
7.5 | Machine is completely stopped before stepping off |  | As Stated
7.6 | Forks are lowered when machine is not in use
7.7 | Are pre - operational inspections being completed by operators prior to use of machinery |  | Select 2 drivers and review inspection check sheet for completion and signoff
7.8 | Verify annual inspection date on MHE in the area |  | Annual inspection required for all MHE
7.9 | Other :
8 | Other Equipment
8.1 | No wooden or painted ladders - and are in good working order |  | All rungs in place, proper footing
8.2 | Pre ops being completed on equipment |  | Check 3 random pieces of equipment for completion. Must have name and date
8.3 | Are there lock out/tag out tools available for all equipment and SOP being followed |  | Verify there are locks and lock out tags available at the facility and lockout meets legislative requirements
8.4 | Hands tools in good repair |  | Electrical cords not frayed, casing have no holes.
8.5 | Are guards on equipment in good condition? |  | Check guards to ensure they are intact; request for pre-op inspections (up to 3) on equipment to verify guarding is inspected on a daily basis
8.5 | Other :
9 | Electrical Panels
9.1 | Not obstructed |  | Electrical room is not a storage room
9.2 | Covers/doors/caps on electrical panels |  | Nothing stored on top of or in panels
9.3 | Other :
10 | Maintenance Area
10.1 | Clean |  | As Stated
10.2 | Equipment / tools in good condition, guards in place, no deviations |  | As Stated
10.3 | Hands tools in good repair |  | Electrical cords not frayed, casing/housing have no holes
10.4 | Other :
11 | Employee Interview
11.1 | What would you do if you had an accident? |  | Report it to your immediate supervisor immediately
11.2 | What does LOTO stand for |  | Lockout Tagout
11.3 | Are there guards installed on your equipment? |  | Have them point them out (if applicable)
11.4 | Is the pre inspection completed for the equipment being run? |  | Dated, signed,
11.5 | Where is your closest emergency exit? Where is the external meeting area? |  | Look for the closest exit to the area
11.6 | Other:
Additional Comments:
| JHSC Worker Member Co-Chair Signature |  |  | JHSC Management Co-Chair Signature
| __________________________________________________ |  |  | ________________________________________________________________

## Observations
Georgetown JHSC Monthly Workplace Inspection Observation Form
Inspectors name: ____________________________ |  |  | Inspection Date: _____________________________
Zone: _________________________ |  | Rate of Concern (1 - Fix on Site 2 - Maintance/Work Order 3 - Longterm Project)
# | Observations | Rate of Concern | Accountable Individual | Pictures?